## Project Results
# | Label | Product Model | Width (in) | Height (in) | CFM (ft³/min) | Pressure Drop (in.w.g.) | Face Velocity (fpm) | Throw 0.75 m/s (ft) | Throw 0.50 m/s (ft) | Throw 0.25 m/s (ft) | NC | Status | Error
1 | Room A | 1 | 24 | 2 | 75 | 0.0325 | 225 | 5.5 | 9.5 | 16 | 21 | interpolated
2 | Room B | 1 | 36 | 2 | 125 | 0.039 | 250 | 9.5 | 15.25 | 25.5 | 24 | interpolated
3 | Room C | 1 | 48 | 2 | 200 | 0.058 | 300 | 15 | 23 | 38 | 29 | interpolated
4 | Hall 1 | 2 | 36 | 4 | 250 | [6 empty] | error | No engineering catalog data published for product_model_id=2 at size 36.00" x 4.00".
5 | Hall 2 | 2 | 48 | 4 | 400 | [6 empty] | error | No engineering catalog data published for product_model_id=2 at size 48.00" x 4.00".
6 | Out-of-range (low) | 1 | 24 | 2 | 10 | 0.02 | 150 | 4 | 7 | 12 | 18 | clamped_low
7 | Out-of-range (high) | 1 | 24 | 2 | 9999 | 0.195 | 750 | 16 | 24 | 41 | 39 | clamped_high